## Sheet2
GAC-MC-01
[5 empty] | Maintenance Check Sheet |  |  |  |  | Rev 1, Dec 2018
Asset Name | 3 digit code | Asset Type | Asset Criticality | Asset Category | 3 Months | 6 Months | 12 Months | 36 Months | 60 Months | 120 Months
DISH WASHER | DWS | Fixed | C | APPLIANCE |  |  | Test functionality, clean and repair/replace if require
STOVE | STV | Fixed | B | APPLIANCE | Clean |  | Test functionality, clean and repair/replace if require
HOOD FAN | HDF | Fixed | C | APPLIANCE | Clean |  | Test functionality, clean and repair/replace if require
FRIDGE | FRG | Fixed | B | APPLIANCE |  |  | Test functionality, clean and repair/replace if require
FREEZER | FGZ | Fixed | B | APPLIANCE |  |  | Test functionality, clean and repair/replace if require
MICROWAVE | MVE | Fixed | B | APPLIANCE | Clean
WASHER | WSR | Fixed | C | APPLIANCE |  |  | Test functionality, clean and repair/replace if require
DRYER | DRY | Fixed | C | APPLIANCE |  |  | Test functionality, clean and repair/replace if require
CABINET | CAB | Fixed | D | CABINET |  |  | Visual check all functions and repair/replace if require
VANITY | VAN | Fixed | D | CABINET |  |  | Visual check all functions and repair/replace if require
Electric System | ELS | Fixed | C | ELECTRICAL |  |  | Test functionality and replace if require
ROOF | ROF | Fixed | D | EXTERIOR |  |  |  | Visual check and repair/replace if require
SIDING | SDN | Fixed | D | EXTERIOR |  |  |  | Visual check and repair/replace if require
GUTTER | GTR | Fixed | C | EXTERIOR |  |  |  | Visual check and repair/replace if require
GARAGE DOOR | GDS | Fixed | C | EXTERIOR |  |  | Test functionality, clean, lubricate and repair/replace if require
CARPET FLOORING | FRC | Fixed | D | FLOORING |  |  |  | Visual check and repair/replace if require
TILE FLOORING | FRT | Fixed | D | FLOORING |  |  |  | Visual check and repair/replace if require
VINYL FLOORING | FRV | Fixed | D | FLOORING |  |  |  | Visual check and repair/replace if require
HARDWOOD FLOORING | FRH | Fixed | D | FLOORING |  |  |  | Visual check and repair/replace if require
LAMINATE FLOORING | FRL | Fixed | D | FLOORING |  |  |  | Visual check and repair/replace if require
WINDOW | WND | Fixed | D | FRAMING |  |  | Visual check of leak and repair/replace if require
DOOR | DOR | Fixed | D | FRAMING |  |  | Visual check all functions and repair/replace if require
CLOSET | CLT | Fixed | D | FRAMING |  |  | Visual check all functions and repair/replace if require
FIRE PLACE | FPL | Fixed | A | HVAC |  |  | Test functionality, clean and repair/replace if require
WATER HEATER | WHT | Fixed | B | HVAC | Visual check of leak and repair/replace if require |  | Clean, drain water and repair/replace if require
FURNACE | FRN | Fixed | B | HVAC |  |  | Clean, test, change filter before winter and repair/replace if require
HEAT PUMP | HPM | Fixed | B | HVAC |  |  | Test functionality, clean and repair/replace if require
HVAC system |  |  |  | HVAC
Air Conditioner | ACR | Fixed | C | HVAC |  | Change filter | Clean, test, change filter and repair/replace if require
KITCHEN FAUCET | KFC | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
WASHROOM SINK FAUCET | WFC | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
SHOWER FAUCET | SFC | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
OUTDOOR FAUCET | EFC | Fixed | C | PLUMBING |  |  | Visual check of leak and repair/replace if require
TOILET | TLT | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
DRINAGE LINE | DRG | Fixed | C | PLUMBING |  |  | Test of any blockage and clean if require
Water system | IWS | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
Plumbing system | PBS | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
Water softener | WSN | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
Humidifier | HMD | Fixed | C | PLUMBING | Visual check of leak and repair/replace if require
SMOKE DETECTOR | SMD | Fixed | A | SAFETY | Test functionality and replace if require |  |  |  |  | Replace
CARBON MONOXIDE DETECTOR | CMD | Fixed | A | SAFETY | Test functionality and replace if require |  |  |  |  | Replace
MOTION DETECTOR | MOD | Fixed | A | SAFETY | Test functionality and replace if require |  |  |  |  | Replace
CAR | CAR | Mobile | B | AUTOMOBILE |  | Oil change or conditional maintenance
BOAT | BOT | Mobile | C | AUTOMOBILE |  | Oil change or conditional maintenance
BIKE | BKE | Mobile | C | AUTOMOBILE |  | Oil change or conditional maintenance
RECREATION VEHICLE- RV | REV | Mobile | C | AUTOMOBILE |  | Oil change or conditional maintenance
GUN | GUN | Mobile | A | OTHERS |  |  | Check and Conditional maintenance
CELL PHONE | CEL | Mobile | B | OTHERS |  |  | Check and Conditional maintenance
TELEVISION | TVN | Mobile | D | OTHERS |  |  | Check and Conditional maintenance
EYE GLASS | EGL | Mobile | D | OTHERS |  |  | Check and Conditional maintenance
MAN | MAN | Person | B | HUMAN |  |  | Annual medical check up
WOMAN | WAN | Person | B | HUMAN |  |  | Annual medical check up
BOY | BOY | Person | B | HUMAN |  |  | Annual medical check up
GIRL | GRL | Person | B | HUMAN |  |  | Annual medical check up
Annual medical check up
DOG | DOG | PET | C | PET |  |  | Checkup and Conditional treatment
CAT | CAT | PET | C | PET |  |  | Checkup and Conditional treatment
SNAKE | SNK | PET | C | PET |  |  | Checkup and Conditional treatment
BUNNY | BNY | PET | C | PET |  |  | Checkup and Conditional treatment